## Cover Page Vol. 2 of 4
KENYA REINSURANCE CORPORATION LTD (KENYA RE)
Standard Bidding Document
for the
Procurement of Works
VOLUME 2 OF 4
BIDDING DOCUMENT
Subject of Procurement: | PROPOSED FITOUT OF KENYA REINSURANCE CORPORATION LTD OFFICES ON FIRST FLOOR LEVEL , REDSTONE HOUSE, PLOT 07 BANDALI RISE, KAMPALA, UGANDA
Date of Issue: | MAY, 2021

## Contents Page
DOCUMENTS SUMMARY PAGE
| VOL NO. | DESCRIPTION
| Vol 1 of 4 | Bidding Procedures, Employer's requirements, Conditions of Contract and Contract forms. Comprising:-
Bidding Procedures
Employer's Requirements
Conditions of Contract
Contract Forms
| Vol 2 of 4 | Bills of Quantities; Comprising:-
Preambles to Bills of Quantities
Bills of Quantities for Building works & Associated Electrical and Mechanical Installations
| Vol 3 of 4 | Technical Drawings
Architectural, Electrical and Mechanical Drawings
| Vol 4 of 4 | Specifications for the Works; Comprising:-
General Specifications for the Works
DOCUMENTS SUMMARY PAGE
INDEX PAGE
| BILL NO. | DESCRIPTION | PAGE No.
BILL NO. 1 - CONDITIONS OF CONTRACT
| 1 | Conditions of Contract | 3 | - | 8
BILL NO. 2 - PRELIMINARIES
| 2 | Preliminaries | 9 | - | 21
BILL NO. 3 - OFFICE FITOUT WORKS (Builders Works)
| 3 | Office -Fit Out | 22 | - | 35
BILL NO. 4 - ELECTRICAL INSTALLATIONS
| 4 | Electrical Installations | 36 | - | 47
BILL NO. 5 - MECHANICAL INSTALLATIONS
| 5 | Mechanical Installations | 48 | - | 50
MAIN SUMMARY
|  | Main Summary | 51 | - | 52
INDEX PAGE

## Fly Sht Bl. 1 - C.O.C
BILL NO.1
CONDITIONS OF CONTRACT

## Bl. 1 - C.O.C
| Item |  | Description |  |  | US$
BILL No 1
CONDITIONS OF CONTRACT
| A | Pricing of Items of Conditions of Contract and Preliminaries
Wherever in these Bills No 1 & 2 the Contractor does not insert his price against an item, the value of such items shall be held to be included in his rates for all other items in the following Bills of Quantities.
| B | Definition of terms
|  | (i) | Employer. The term “Employer” wherever used hereinafter and in all contract documents shall have the same meaning as defined in the Conditions of Contract and Contract Data.
|  | (ii) | Contractor. The term “Contractor” wherever used hereinafter and in all contract documents shall have the same meaning as defined in the Conditions of Contract and Contract Data.
|  | (iii) | The Name “Project Manager” or “Architect” or “Engineer” or “Quantity Surveyor” shall have the same meaning as defined in the Conditions of Contract and Contract Data”.
|  | (iv) | Site: The site of the proposed works are ON FIRST FLOOR LEVEL OF REDSTONE HOUSE, PLOT 07 BANDALI RISE, KAMPALA, UGANDA
The Contractor is recommended to visit the sites and he shall be deemed to have acquainted himself therewith as to the nature and position and means of access, etc. and no claim in this connection shall be allowed.
No claims will be allowed for travelling or other expenses, which may be incurred by the Contractor in visiting the Site for the Bid of the Works.
TOTAL CARRIED TO SUMMARY
CONDITIONS OF CONTRACT | [6 empty] | 1/1
| A | SCOPE OF CONTRACT
|  | 1.1 | The works to be carried out comprises construction and completion of the following works: -
|  | ITEM NO. | DESCRIPTION | UNIT | AREA
|  | 1 | Fit - Out of Kenya Reinsurance Offices on First Floor Level | SM | 152
|  |  | TOTAL | SM | 152
| B | PROGRAMME OF THE WORKS
The contactor is expected to submit together with his bid, a detailed programme, showing how he intends to carry out the works to conform to the bid period offered in the Form of Bid. The programme shall be updated in accordance with the Conditions of Contract and the Contract Data.
| C | FORM OF CONTRACT AGREEMENT
The form of contract under which terms the Contractor will be required to enter into a contract with the Employer is contained in Volume 1 of 4 of the Bidding Documents, Part 3, Sections 7, 8 and 9.
TOTAL CARRIED TO SUMMARY
CONDITIONS OF CONTRACT | [6 empty] | 1/2
If the Contractor considers that compliance with any of the Conditions of Contract as particularly amended or qualified by the Contract Data and of which headings are set out hereunder involve expenses to him which are not included elsewhere in his prices, he shall set down opposite any such condition the value he attaches thereto:
CONTRACT PARTICULARS
CLAUSES
|  | A. | GENERAL
| A | 1. | Definitions
| B | 2. | Interpretation
| C | 3. | Language and Law
| D | 4. | Project Manager's Decisions
| E | 5. | Delegation
| F | 6. | Communications
| G | 7. | Subcontracting
| H | 8. | Other Contractors
| I | 9. | Works
| J | 10. | Safety and Temporary works
| K | 11. | Discoveries
| L | 12. | Work Programme
| M | 13. | Possession of the Site
| N | 14. | Access to the Site
| O | 15. | Instructions.
| P | 16. | Extension or Acceleration of Completion Date
| Q | 17. | Management Meetings
| R | 18. | Early Warning
| S | 19. | Defects
| T | 20. | Bills of Quantities
| U | 21. | Variations
| V | 22. | Payment Certificates, Currency of Payments and Advance Payments
| W | 23. | Compensation events
TOTAL CARRIED TO SUMMARY
CONDITIONS OF CONTRACT | [6 empty] | 1/3
| A | 24. | Compensation Events
| B | 25. | Price Adjustment
| C | 26. | Retention
| D | 27. | Liquidated damages
| E | 28. | Securities
| F | 29. | Day Works
| G | 30. | Liability and Insurance
| H | 31. | Completion and Taking Over
| I | 32. | Final Account
| J | 33. | Termination
| K | 34. | Payment upon termination
| L | 35. | Release from performance
| M | 36. | Corrupt gifts and Payments of commission
| N | 37. | Settlement of Disputes
TOTAL CARRIED TO SUMMARY
| CONDITIONS OF CONTRACT | [5 empty] | 1/4

## Sumry Bl. 1 - C.O.C
Item |  |  | Description | US$
SECTION A
CONDITIONS OF CONTRACT
SUMMARY PAGE
Total Carried From Page 1/1
Total Carried From Page 1/2
Total Carried From Page 1/3
Total Carried From Page 1/4
TOTAL FOR BILL NO. 1 CARRIED TO MAIN SUMMARY
CONDITIONS OF CONTRACT |  |  |  |  | 1/S

## Fly Sht.bl No.2 -Preliminari
BILL NO.2
PRELIMINARIES
PRELIMINARIES

## Bl No.2 Preliminaries
Item | Description |  |  |  |  | US$. | Cts
BILL NO.2
PRELIMINARIES
A | Sufficiency of Tender
The Contractor shall be deemed to have satisfied himself before tendering as to the correctness and sufficiency of his Tender for the Works and of the rates and prices stated in the bills of Quantities which rates and prices shall cover all his obligations under the Contract and all matters and things necessary for the proper completion and maintenance of the works
B | Definition of Terms and Abbreviations
The Terms and Abbreviations used in these Tender Documents Shall be interpreted as follows:-
| “ B.S.” |  | shall mean | The current British Standard of Specification published by the British Standard Institution, Park Street, London, W.1 England
| “ NO.” |  | shall mean | Number
| "L.M." |  | shall mean | Linear Meter
| "M" |  | shall mean | Linear Meter | 14750
| "SM" |  | shall mean | Square Meter | 29500
| "CM" |  | shall mean | Cubic Meter
| "Ditto" |  | shall mean | The whole of the preceding description except as qualified in the section in which it occurs. Where it occurs in brackets, it shall mean the whole of the preceding description which is contained within the appropriate.
| "MS" |  | shall mean | Measured separately
| "BSM" |  | shall mean | Both sides measured
| "P.C" |  | shall mean | Prime cost
| "75mm to 150mm" |  | shall mean | Exceeding 75mm but not exceeding 150mm in girth, and all items described in this manner shall be similarly construed.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/1
A | Access to site and temporary roads
Means of access to the Site shall be agreed with the Architect prior to the commencement of the Works and the Contractor must allow for building any temporary access roads for the transport of materials, plant and workmen as may be required for the complete execution of the Works including the provision of temporary culverts, crossings, bridges or any other means of gaining access.
Upon the completion of the Works, the Contractor shall remove such temporary roads, culverts, bridges, etc., and make good and reinstate all Works and services disturbed to the satisfaction of the Architect.
B | Area to be occupied by the Contractor
The area of the Site which may be occupied by the Contractor for use as storage and for the purpose of erecting workshops, etc., shall be defined on the Site by the Architect.
C | Setting out
The Contractor shall set out the Works in accordance with the dimension and levels shown on the Drawings and shall be responsible for the correctness of all dimensions and levels so set out by him and will be required to amend all errors arising from inaccurate setting out at his own cost and expense. In the event of any error or discrepancy in the dimensions or levels marked on the Drawings being discovered, such errors or discrepancies shall be reported by the Contractor to the Architect for his immediate attention.
No Work shall be commenced by the Contractor until he has received written instruction from the Architect to adjust such discrepancies which may be proved. Upon receipt of such instructions, the Contractor shall thereupon be responsible for accurate setting out of the Works, giving effect to the adjustments necessary to comply with such instructions, and no claim for extra expense or relief from the provision of Clause 5 of the Conditions of Contract based on any discrepancy or error in the dimensions or levels shown on the Drawings may be made thereafter.
Before any Work is commenced by the Sub-Contractors or Specialised Firms, dimensions must be checked on the Site and / or buildings and agreed with the Contractor, irrespective of the comparative dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of such dimensions.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/2
A | Existing services
Prior to the commencement of any Work, the Contractor is to ascertain from the relevant Authorities the exact position, depth and levels of all existing electric cables, water pipes or other services in the area and he shall make whatever provisions may be required by the Authorities concerned for the support and protection of such services. Any damage or disturbance caused to any service shall be reported immediately to the Architect and the relevant Authority and shall be made good to their satisfaction at the Contractors expense.
B | Transport to and from the site
The Contractor shall include in his prices for the transport of materials workmen, etc., to and from the Site of the proposed Works, at such hours and such routes as are permitted by the Authorities
C | Public and private roads, pavements
The Contractor will be required to make good, at his own expense, any damage he may cause to the present road surfaces and pavements during the period of the Works. In particular all the existing lawns, gardens, storm water channels, hedges, fences etc., which may be destroyed or damaged during the progress of the Works are to be made good by the Contractor to the approval of the Architect.
D | Security of the works
The Contractor shall be entirely responsible for the security of all the Works, stores, materials, plant, personnel, etc., both of his own and Sub-Contractors’, and shall provide all necessary watching, lighting and other precautions as necessary as to ensure the security and the protection of the public.
E | Water for the works
The Contractor shall allow for providing all temporary water supplies required for the works, including Sub-Contract Works, together with all necessary storage tanks and distribution systems for the same and must allow for bearing all expenses incurred and paying for all water consumed without charge to any Sub-Contractor. Expenses in connection with Nominated Sub-Contractors should be allowed for in the attendance items under the relevant P.C. Sums.
No guarantee or warranty is given as to the availability or suitability of water at the site.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/3
A | Electric light and power
The Contractor shall allow for providing all temporary lighting and power supplies required for the works, including Sub-Contract works, together with all necessary distribution systems for the same and must allow for bearing all expenses incurred and paying for all current consumed without charge to any Sub-Contractor. Expenses in connection with Nominated Sub-Contractors should be allowed for in the attendance items under the relevant P.C. Sums.
No guarantee or warranty is given as to the availability or suitability of power at the site.
B | Telephone
The Contractor shall arrange for, provide and maintain a telephone on the Site from the commencement to the completion of the Contract and shall pay all charges in connection therewith.
C | Temporary Buildings for use by the Contractor
The Contractor shall at his own cost, supply and erect all temporary buildings, sheds, mess rooms and stores with floors at least 150mm above ground level. No office, stores or other temporary buildings shall be erected on Site without first obtaining the consent from the Architect as to the type of temporary building to be supplied and the position in which they are to be erected.
D | Sheds for storage of Materials
The Contractor shall provide and maintain on the Site, ample weatherproof sheds for storage of cement and other perishable materials and shall clear the same away on completion and make good any disturbed surfaces.
E | Offices for the Consultants
| (i) | The Contractor shall provide, erect and maintain where directed on Site approved weatherproof lockup office for the sole use of the Consultants with a floor area not less than 14 square metres. The office shall be constructed with concrete or wooded floor and the walls and ceiling internally are to be lined with fibreboard. Glazed windows shall be provided of not less than 1 metre square area and the door shall have a strong lock or fastening. The office shall be provided with artificial lighting and electric power. The office is to be furnished with a table of sufficient size to carry the drawings, complete with drawers, and also stools and chairs. The table should be adequate to sit at least 8 (Eight) people. The contractor shall allow for regular cleaning of the office.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/4
| (ii) | The Contractor shall keep on the Site and maintain in good condition, one dumpy or quickset level and levelling staff and one 30 metres steel/linen tape for the use of the Consultants. The Contractor shall also provide stationery for use by the consultants.
| (iii) | He shall provide, erect and maintain a lockup pedestal type water or bucket closet for the sole use of the Consultants including making temporary connection to drain where applicable to the satisfaction of the Government and Medical officers of Health and shall provide the services of a cleaner and pay all conservancy charges and keep both office and closet clean and in sanitary condition from the commencement to the completion of the Works and dismantle and make good disturbed surfaces to the satisfaction of the Architect on completion of the Works.
| (iv) | The office and the closet shall be completed before the Contractor is permitted to commence the Works.
A | Office for the Clerk of works
The Contractor shall provide, erect and maintain where directed on site an approved weatherproof office for the sole use of the Clerk of Works. The office shall be not less than 10 square meters and shall be of construction similar to the office of the consultants. The office shall be furnished with 1 No. desk with lockable drawers, 1 No. A0 Size drawing chest with four drawers, 1 No. lockable metal filing cabinet. The office shall also have all power and lighting points as necessary. The contractor shall allow for regular cleaning of the office.
The contractor shall also provide stationery for use by the Clerk of Works.
B | Signboard
The contractor shall provide and erect where directed and maintain during the whole period of building operations and remove at completion, an approved temporary signboards to the Architect’s standard design and giving the title of the Works and showing the names of the Employer, Architect, Quantity Surveyor, Engineers and the Contractor with sufficient space to add the names of the Nominated Sub-Contractors and suppliers. The lettering concerning the Architect, Quantity Surveyor and the Engineer is not to be more than 75mm high.
C | Sanitation of the works
Sanitation of the Works shall be arranged and maintained by the Contractor to the satisfaction of the Government and Local Authorities, Labour Department and the Architect.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/5
A | Materials, tools, plant and scaffolding
All materials and workmanship used in the execution of the Works shall be of the best quality and description unless otherwise described. Any materials for the Works condemned by the Architect shall immediately be removed from the Site at the Contractor’s expense
The Contractor shall be responsible for the provision of all materials, scaffolding, tools, plants, transport and workmen required for the Works except insofar as may be stated otherwise herein and he shall allow for the provision of the foregoing except for such items specifically and only required for the use of the Nominated Sub-Contractors as described herein.
No timber used for scaffolding, formwork or similar purpose shall be used afterwards in the permanent Works.
All such plant, tools and scaffolding shall comply with all regulations whether general or local in force throughout the period of the Contract and shall be altered or adapted during the Contract as may be necessary to comply with any amendments in / or additions to such regulations.
B | Supervision and Working hours
The said Works shall be executed under the direction and to the entire satisfaction of the Architect ,who shall at all times during normal working hours have access to the Works and to the yards and the workshops of the Contractor and Sub-Contractors or other places where work is being prepared for the Contract.
The working hours shall be those generally worked by good employers in the Building and Civil Engineering Trade in Uganda. Contractr should allocate certain heavt work to be carried out at night or oftwr working hours, with the consent of the Achitect and the Landlord.
No work shall be covered up nor shall any concreting be carried out in the absence of the Clerk of Works without the prior approval of the Architect in writing.
C | Fair wages
The Contractor shall pay rates of wages and observe hours and conditions of labour not less favourable than the minimum rates of remuneration and minimum conditions of employment applicable in the district in which the works is carried out. The relevant notice must be posted up and kept posted upon the Site where it can conveniently be read by the employees concerned.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/6
A | Training levy
The Contractor’s attention is called to the requirement for payment by the Contractor of a training Levy and the Contractor should allow in the Preliminaries of this Contract for all costs arising or resulting there from.
B | Labour
No labour with the exception of the watchman, may be housed on the Site and the Contractor shall allow for all transport and other charges in moving labour to and from the Site at such hours and such routes as are permitted by the Authorities. The Contractor is to provide, erect and maintain satisfactory housing for the watchmen and shall remove the same on completion of the Works.
C | Existing Property
The Contractor shall take every precaution to avoid damage to all existing property including roads, cables, drains and other services and he will be held responsible for all damage thereto, arising from the execution of this Contract, and he shall make good all such damages when directed at his own expense.
D | Protection of the works
The Contractor shall cover up and protect all finished works liable to damage including provision of temporary roofs, gutters, drains, etc., until the completion of the Works.
In the event of any damage occurring to the Works, materials, sewers, drains, gullies, paths or other Works on the Site temporarily in the possession of the Contractor, for the purpose of this Contract, either from the weather, want of proper protection, defects or insufficiency of the Works, the Contractor alone shall be responsible and shall without extra charges, make good all damages and pay all costs which may be levied.
E | Standard Measurements
All dimensions and measures, etc., shown on the Drawings and given in this Bills of Quantities shall be metric.
F | Bills of Quantities
The whole of the Works contained in these Bills of Quantities is measured on the basis of the Standard Method of Measurements of the Building Works for Eastern Africa, prepared by the Architectural Association of Kenya, Second Edition, Metric, printed in 2008.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/7
The Method of Measurements herein used must be accepted and will be strictly adhered to for the adjustments of variations or for remeasurements as necessary. The whole of the quantities in these Bills, unless expressly otherwise stated, have been arrived at by taking the net measurements of various items of completed Works from the Drawings.
All the Works in this Contract that is liable to adjustment has been measured as “Provisional” in these Bills of Quantities, and no excavation or foundation work or other works so described shall be filled in or covered up until all measurement needed for the Adjustments of Variations under clause 11 of the Conditions of Contract have been made by the Quantity Surveyor.
The rates set out by the Contractor against each item shall, unless otherwise expressly provided to the contrary, or unless there is a separate item for extra labour, cutting or waste, be held to include for waste on materials, carriage and cartage, carrying in and return of empties, hoisting, setting, fitting and fixing in position, making good and all other labours and everything else necessary for the completion of each item and for establishment charges and profit.
Throughout the Bills of Quantities generally, no mention is made of heights for hoisting and all prices must include for hoisting and fixing at any level within the limit shown on the Drawings or included in the general description unless a specific level is stated.
The Contractor shall be deemed to have made allowance in his rates generally to cover items of Preliminaries expenses in connection with P.C Sums or other items if these have not been priced against the respective items.
These Bills of Quantities have been prepared in the elemental form and each element contains work in various trades. For the purpose of pricing, the Bills of Quantities may be taken apart and each trade collected together but when the Tender is submitted the Bills of Quantities must be re-assembled in the correct order.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/8
A | Copyright
The copyright of these Bills of Quantities is vested in the Quantity Surveyor and they may not be reproduced in whole or in part without the Quantity Surveyor’s written permission.
B | Prime Cost (P.C.) Sums
| (i) | The words “Prime Cost” (or the initials “P.C”) wherever appearing in these Bills of Quantities, shall mean net cost exclusive of any trade, cash or other discounts whatsoever but inclusive of the cost of packing, carriage and delivery. Such costs shall be the sums due to the Sub-Contractor or suppliers after adjustment where applicable in respect of measurements or rates.
| (ii) | Any increases or decreases in these Prime Cost Sums resulting from the adjustments and properly paid by the Contractor, shall be added to or deducted from the Contract Sum in the final account. In substantiation, the Contractor is required to produce to the Quantity Surveyor, all quotations, invoices and receipted accounts as shall be necessary to show the details of the sums actually paid.
| (iii) | Any sums added by the Contractor in these Bills of Quantities in respect of profit upon any Prime Cost Sums will be deducted in the final settlement of accounts and a sum will be added, the amount of which will bear the same the proportion to the sum added as the net amount properly expended bears to the original P.C.Sum.
C | Samples
The Contractor shall furnish at the earliest possible opportunity before work commences at his own cost, any samples of materials of workmanship that may be called for by the Architect for his approval or rejection and any further samples in the case of rejection until such samples are approved by the Architect and such samples when approved shall be the minimum standard for the work to which they apply.
D | Proprietary Articles
Where proprietary articles are specified herein, the Contractor may propose the use of materials of equal quality but from other manufacturers with the approval of the Architect, but the decision of the Architect will be final.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/9
A | Protection
Cover up and protect from damage, including damage from inclement weather, all finished work and unfixed materials including that of the Sub-Contractor, etc., to the satisfaction of the Architect until the completion of the Contract and make good any damage which occurs. Carefully preserve all trees or bushes on or near the site.
B | Removal of plant, Rubbish, etc
The Contractor shall, upon completion of the Works, remove and clear away all temporary buildings, plant, rubbish and unused material, and shall leave the whole of the Site of the Works in a clean and tidy state to the satisfaction of the Architect. He shall also remove all rubbish and dirt from the Site at weekly intervals or as directed by the Architect.
Particular care shall be taken in leaving windows clean and removal of all paint and cement stains there from.
C | Prevention of Nuisance
The Works and such sections of the Site necessary therefore shall be under the entire care and control of the Contractor during the whole period of the Contract and he shall take all possible precautions to prevent any nuisance, inconvenience or injury to the holders or occupiers of the existing or surrounding properties and to the public generally, and shall at all times keep all the paths and roads affected by the works in a safe and clear state and shall use proper precautions to ensure the safety of all wheeled traffic and pedestrians.
D | Visitors to the site
The Contractor is required to control all visitors to the Site and to keep out unauthorised visitors and to provide a visitors book and ensure that all the unauthorised visitors sign therein.
E | Firm price contract
The fluctuation Clause 32,is deleted from the Contract. This is a firm price Contract and the Contractor must allow in his rates for any increase in the prices of labour and/or materials which may occur after submission of the Tender.
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/10
A | Programme and progress
The Contractor shall furnish to the Architect, within 30 days from the date for possession of the site, for approval and display in the site offices, a Programme and Progress Chart devised in such a way that the lined programme is shown and progress can be marked up as the work proceeds. The Contractor shall keep this chart up to date at all times.
If required by the Architect, this chart shall be generated and up-dated by an approved computer program.Approval by the Architect of the programme shall not relieve the Contractor of any of his obligations under this Contract.
The Contractor shall not without the Architect’s consent make any material alteration to the approved programme.
If the Architect decides that progress does not match the programme, he may order the Contractor to revise the programme. The Contractor shall thereafter revise the programme to show the modifications necessary to ensure completion of the works by the Date of Practical Completion.
The Architect shall notify the Contractor if the Architect decides that the rate of progress of the works or any section, is too slow to meet the Date for Practical Completion and that this is not due to a circumstance for which the Contractor is entitled to an extension of time under the Contract.
Following receipt of such a notice, the Contractor shall take such steps as may be necessary, and as the Architect may approve, to remedy or mitigate the likely delay, including revision of the programme. The Contractor shall not be entitled to any additional payment for taking such steps.
B | Site progress photographs
The Contractor shall take and develop (in both digital and still form) site progress photographs every two weeks.
Adequate copies shall be made for distribution to the client (2 No.) and the Consultants (1 No.)
C | DUL DILIGENCE
Allow a sum of US$ 10,000 for due diligence for 3No. evaluators from Kenya Re to visit any of the 3 No. Sites (as proposed in the technical documents above) which has been completed and handed over in the past six (6) years of works value USD 50,000.00 and above. The due diligence shall be to confirm the information provided in the mandatory and technical evaluation are a true representation of the bidding firm(s) technical and financial proposal
The Contractor shall factor in the costs of flights and covid tests requirements and for the evaluators.
The due diligence will include accommodation(Full Board) for Kenya RE staff in a 4 star hotel, adequate buffet Lunch and travel expenses for the Ugandan staff
Carried to summary US$.
| PRELIMINARIES | [5 empty] | 3/11

## Sum. Bl.2 Preliminaries
Item |  | Description | Amount (US$.) | Cts
BILL NO.2
PRELIMINARIES
SUMMARY
A |  | Page No. 3/1
B |  | Page No. 3/2
C |  | Page No. 3/3
D |  | Page No. 3/4
E | 6 | Page No. 3/5
F | 7 | Page No. 3/6
G | 8 | Page No. 3/7
H | 9 | Page No. 3/8
I | 10 | Page No. 3/9
J |  | Page No. 3/10
K |  | Page No. 3/11
Carried to Main Summary
|  | PRELIMINARIES |  | 3/S

## Fly Sht. bl No.3 Fit Out
BILL NO.3
OFFICE FIT OUT

## Bl.3 - Office Fit Out
Item | Description | Unit | Qty | Rate | Amount
|  |  |  | (US$) | (US$)
BILL NO.3
OFFICE FIT - OUT
ELEMENT NO.1
DEMOLITIONS AND REMOVALS
PRICING NOTES
Tenderers are strongly advised to read and understand the following notes before pricing this section. Any query on the notes should be referred to the Project Manager/Architect or the Quantity Surveyor
A | Amounts for demolitions shall include the following in addition to what is described in the particular item:
a) Making good i.e. re-instatement of any finishes and structures affected by the demolition work to the original state.
b) Clearing debris with speed on a daily basis as they arise, cleaning of affected surfaces, and removal of the debris from site to Kampala City Council Authority approved dumping sites. Accumulation of debris within the site premises shall not be allowed.
B | Demolition work shall be carefully executed with the particular aim of minimizing damage to adjacent finishes, structure, or components.
C | The amounts quoted shall be deemed to be inclusive of all handling of the removed items and their removal from site.
D | Amounts given should include for adequate temporary support and protection for the remaining elements of the buildings being demolished and to adjacent buildings and services.
E | All materials, components and fittings arising from the demolitions work shall become the property of Client unless specifically stated otherwise.
TOTAL CARRIED TO COLLECTION
3/1/1
MEASURED DEMOLITION WORKS
The amounts inserted against items must include for loading and carting away rubbish and debris to dump to be found by the contractor and leaving the whole site clean and tidy to the satisfaction of the Project Manager/Architect and Local Authority and making good all disturbed surfaces to approval.
FINISHES
A | Allow for labour and material for chiselling onto existing floor screed/wall plaster for 32/20mm diameter pvc conduit provisions; ditto; ditto; ditto | LM | 6
B | Carefully remove existing ceiling panels as directed by the architect; ditto; ditto; ditto ; ditto . | SM | 152
C | Hack off existing floor tiles including backing screed to an average of 50mm deep; cart away arising debris from site; prepare surfaces to receive finishes; make good disturbed surfaces | SM | 18
D | Ditto to existing 100mm high tile skirting; ditto; ditto; ditto. | LM | 41
PARTITIONS AND OPENINGS
E | Carefully remove existing glazed aluminium framed door (fire escape), complete with framing, overall size 1420 x 2700mm high (overall) comprising: 1 No. equal openable shutter size 900 x 2,400mm high and unopenable shutter size 520 x 2,400mm high, handover salavged door to landlord/client; remove arising debris from site; make good disturbed surfaces. | NO | 1
F | Carefully remove existing glazed aluminium framed door (main entrance), complete with framing, overall size 1400 x 2700mm high (overall) comprising: 1 No. equal openable shutter size 900 x 2,400mm high and unopenable shutter size 500 x 2,400mm high,ditto; ditto; ditto. | NO | 1
G | Carefully remove existing 100mm thick dry wall gypsum partition as directed by the architect; ditto; ditto; ditto ; ditto . | SM | 13
H | Ditto to existing 100mm high timber skirting; ditto; ditto; ditto. | LM | 8
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 3/1/1
Total carried forward from Page 3/1/2
TOTAL CARRIED TO SUMMARY OF BILL NO. 3
3/1/2
BILL NO.3
OFFICE FIT - OUT
ELEMENT NO.2
WALLING AND PARTITIONING
PRECAST CONCRETE CLASS 20 : fair faced on all exposed surfaces including bedding and jointing in cement and sand (1:3) mortar
A | 100 x 200mm lintel | LM | 1
BLOCK WALLING
Solid Concrete block work jointed and pointed in cement sand (1:3) mortar with and including hoop iron wall ties every alternative course : in
B | 200mm Thick walls | SM | 9
C | 150mm Thick walls | SM | 5
D | 100mm Thick walls | SM | 28
E | Extra over for toothing and bonding 200mm thick wall | LM | 2
F | Extra over for bonding with coffee tray mesh between the old and new walls | SM | 2
DRY WALL PARTITIONS
12.5mm gypsum plaster board on both sides; appropriately fixed onto plasterboard partition; comprising of 67 x 32 mm U section galvanized structural frames at 600 mm centres both ways/ 100 x 50mm timber structural framing ; with 1 layer with 50mm thick approved acoustic mineral foam/rock wool insulation (<_12kg/m3) to be fitted into cavity: as per Architect's detail drawings: in
G | 100mm Thick dry wall partitions | SM | 60
12.5mm gypsum plaster board on both sides; appropriately fixed onto plasterboard partition; comprising of 67 x 32 mm U section galvanized structural frames at 600 mm centres both ways/ 100 x 50mm timber structural framing ; including boxed metal studs and channel framing fixed to floor/slab with self drilling and tapping screws with counter sunk heads; 76mm wide joists at 1000mm centres both ways: as per Architect's detailed drawing; in as per Architect's detail drawings: in
H | 100mm Thick dry wall partitions | SM | 23
20mm THICK BLOCKBOARD fixed inside plasterboard partition reinforced with 50 x 50mm mild steel framings and joist for TV anchoring/additional support
I | Sandwiched infills in plasterboard drywall partition for TV anchorage | SM | 6
TOTAL CARRIED TO COLLECTION
3/2/1
WALL CLADDING
20mm Thick MDF board partitions with approved laminate veneer (one side) and with seamless vertical joints: as per Architect's detailed drawing; in; L(22)03
A | Securely fixed to plasterboard wall surfaces | SM | 15
APPROVED VALCHROMAT wall cladding with APPROVED COLOURS fixed on 20mm thick MDF board securely fixed onto existing wall and with seamless vertical joints sealed including fixing as per the designers requirements :
B | To existing wall surfaces | SM | 15
FRAMED GLASS PARTITIONS
PURPOSE MADE APPROVED 'APPROVED COLOUR'' POWDER COATED ALUMINIUM SECTION; aluminium 100 x 50mm thick frame; 10mm thick clear butt jointed toughened and glass and glazing; with sand blasted film (to approved pattern/ detail) ; all ironmongery and accessories as per Architect's detailed drawing and ironmongery schedules
C | Aluminium glazed partition W01 ; 2,025 x 2,100mm high overall to the regional director's room ; to Architect's elevation detail L(22) 05 & C(32)03 | NO | 1
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 3/2/1
Total carried forward from Page 3/2/2
TOTAL CARRIED TO SUMMARY OF BILL NO. 3
3/2/2
BILL NO.3
OFFICE FIT - OUT
ELEMENT NO.3
DOORS
TIMBER DOORS
46mm THICK SANDWITCHED SOLID CORED FLUSH DOORS comprising of;2 No. 20mm thick block board faced both sides with approved LACQUER VENEER or to Client approved veneer; 3 no. 10mm stainless steel U- shaped horizontal trips; 20mm thick hardwood lipping to edges : to Architect's detailed drawings
A | Board Room Door ODO3 size 900 x 2,100mm high (overall) comprising: 1 No. equal openable shutter size 800 x 2,050mm high; with 200 x 1,500mm x 6mm thick clear float glazed vision panel and 15 x 15mm hardwood beadings; as per Architect's Drawing C(32) 06 | NO | 1
B | Registry/Archive Room Door ODO5 size 900 x 2,100mm high (overall) comprising: 1 No. equal openable shutter size 900 x 2,100mm high; with 200 x 750mm x 6mm thick float glazed vision panel and 15 x 15mm hardwood beadings; 200 x 450mm high Aluminium transfer grille.15 x 15mm hardwood beadings; as per Architect's Drawing C(32) 05 | NO | 1
C | Regional Director Room Door ODO7 size 900 x 2,100mm high (overall) comprising: 1 No. equal openable shutter size 800 x 2,100mm high;15 x 15mm hardwood beadings; as per Architect's Drawing C(32) 03 | NO | 1
45mm THICK SOLID CORED DOOR WITH (1(One) HOUR FIRE RATING DOOR; SANDWITCHED SOLID CORED FLUSH DOORS comprising of; 2No. 20mm thick block board faced both sides with approved LACQUER VENEER or to Client approved veneer; 3 no. 10mm stainless steel U- shaped horizontal trips; 20mm thick hardwood lipping to edges; The contractor shall be required to submit the manufacturers methodology, test certification's and warranty/guarantee; : to Architect's detailed drawings
D | Server Room Door ODO4 size 1,100 x 2,100mm high (overall) comprising: 1 No. openable shutter size 1,000 x 1,900mm high; with 200 x 750mm x 6mm thick float glazed vision panel and 15 x 15mm hardwood beadings; as per Architect's Drawing C(32)04 | NO | 1
E | Fire Escape Door ODO6 size 900 x 2,100mm high (overall) comprising: 1 No. openable shutter size 900 x 2,050mm high; with 200 x 750mm x 6mm thick Georgian mesh float glazed vision panel and 15 x 15mm hardwood beadings; as per Architect's Drawing C(31)01 | NO | 1
TOTAL CARRIED TO COLLECTION
3/3/1
ALUMINIUM DOOR FRAMES
Supply and fix purpose made powder coated anodized aluminium door frames with wool pile : with timber inserts including battens to top frame to approved architect's colour complete with structural weather proof silicon sealant
A | 100 x 50 x 3mm frames to door openings | LM | 10
TIMBER DOOR FRAMES
APPROVED WROT HARDWOOD FRAMES AND LININGS selected, treated and kept clean; to Architect's detailed drawing
B | 100 x 50mm frames; two labours; fixed to ground (m.s) | LM | 15
C | 50 x 20mm Architraves | LM | 15
D | 25mm Quadrant piece | LM | 15
E | 40 x 25mm Ground/packing piece | LM | 15
FRAMELESS GLASS DOORS
SUPPLYING AND FIXING FRAMELESS PARTITION SHALL BE CARRIED OUT BY AN APPROVED SUB-CONTRACTOR
SUPPLY AND FIX: PURPOSE MADE FRAMELESS DOOR BUTT JOINTED GLAZING : including 10mm Toughened tempered glass and glazing panels with approved sand blasted film: approved stainless steel/powder coated door handle; floor springs , locks AND ALL IRON MONGERY AND ACCESSORIES; as per Architect's Drawing
F | Main Entrance Door ; 10mm Thick Double leaf door overall size 1,400mm x 2,700mm high overall frameless pivoted toughened glass door with one openable shutter overall size 1,050 x 2,700mm high and unopenable shutter size 290 x 2,700mm high ;with 10mm high x 2mm thick stainless steel kick plate: to door detail C(32)01 | NO | 1
G | Entrance Door ; 10mm Thick leaf door overall size 1,000mm x 2,700mm high overall frameless pivoted toughened glass door with one openable shutter overall size 1,000 x 2,700mm high ;with 10mm high x 2mm thick stainless steel kick plate: to door detail C(32)01 | NO | 1
IRON MONGERY
Supply and fix the following ironmongery : locks and furniture to be "Union" and approved by the Architect
SET 1: Timber Doors
H | Union 8352-100SS 100 x 75mm ball bearing brushed stainless steel hinges | Prs | 7.5
I | Union Euro profile Dead Lock. | NO | 5
TOTAL CARRIED TO COLLECTION
3/3/2
A | Union KESO Omega Stainless steel Euro profile double Cylinder with keying system. | NO | 5
B | Union J-1000EE Euro profile Escutcheon- 54mm diameter, 10mm projection | Prs | 5
C | Union J-SYO11SS, 350X75X1.5mm push plate with “Push engraved” | NO | 3
D | Union pull handle with back plate “Pull engraved”. | NO | 3
E | Union J-DS101PS rubber buffered floor mounted door stop. | NO | 5
F | Union – 900mm wide x 150mm high x 2.0mm thick kick plate, 304 grade stainless steel, counter sunk drilled screw for fixing or embossed to surface. | NO | 3
G | Union – 1050mm wide x 300mm high x 2.0mm thick kick plate, 304 grade stainless steel, counter sunk drilled screw either for fixing or embossed to surface | NO | 1
H | Union 8826 (polished stainless steel) adjustable sliding arm door closure. | NO | 3
I | Panic bolt for single door with outside access device: J-U801 & J-U805 | NO | 1
PREPARE AND APPLY THREE Coats polyurethane clear varnish in accordance with manufacturer's instructions : on wood : to
J | Surfaces not exceeding 100 - 200mm girth | LM | 15
K | Surfaces not exceeding 100mm girth | LM | 30
L | Prime back of wood before fixing | LM | 15
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 3/3/1
Total carried forward from Page 3/3/2
Total carried forward from Page 3/3/3
TOTAL CARRIED TO SUMMARY OF BIL NO.3
3/3/3
BILL NO.3
OFFICE FIT - OUT
ELEMENT NO.4
INTERNAL FINISHES
WALL FINISHES
INTERNAL LIME PLASTER, first coat of cement lime and sand (1:2:9) second coat of cement lime putty and sand 1:1:6 steel trowelled
A | 20mm Thick two coat work to walls and concrete surfaces | SM | 84
PAINTING AND DECORATIONS
PREPARE AND APPLY ONE UNDERCOAT AND THREE COATS first grade vinyl silk emulsion paint : internally : on
B | Steel trowelled plastered walls and concrete surfaces | SM | 84
C | To plasterboard surfaces | SM | 128
PREPARE AND APPLY APPROVED "STUCCO" paint in accordance with CLASSIC MOULDINGS/approved manufacturer's instructions: internally : on
D | To board surfaces L[22]04 | SM | 8
RUB DOWN; FILL CRACKS; REMOVE EFFLORESCENT;CLEAN and prepare surface and apply three coats first grade silk emulsion paint ; as per approved colour coded L[--]01 in accordance with manufacturer's instructions on: -
E | To existing wall and concrete surfaces. | SM | 105
F | To existing gypsum plasterboard surfaces | SM | 174
RECEPTION SIGNAGE
G | LED illuminated logo (moulded) and 5mm thick laser cut out for Reception signage fixed onto existing black glass | NO | 1
H | 5mm thick Laser cut out for Reception 3D lettering fixed onto MDF wall partition | NO | 1
I | 5mm thick Laser cut out branding identity fixed onto reception table | NO | 1
FLOOR FINISHES
CEMENT AND SAND (1:4) SCREEDS : finished to receive floor finishes
J | 40mm Thick; to receive carpet floor tiles | SM | 18
TOTAL CARRIED TO COLLECTION
3/4/1
PORCELAIN FLOOR TILES
RUB DOWN; FILL CRACKS; REPLACE BROKEN TILES; REMOVE EFFLORESCENT;CLEAN and polish existing floor tiles in accordance with manufacturer's instructions on: -
A | To existing 10mm thick tiled floor finish. | SM | 111
CARPET FLOOR TILES
500 x 500 x 10mm THICK APPROVED CARPET FLOOR TILES AS MILIKEN BRAND COMPLETE or any other equal and approved; WITH SUBBASE : bedded and jointed in approved adhesive : to
B | To Boardroom floor | SM | 18
WROT MAHOGANY, selected and kept clean
C | 100 x 20mm Skirting | LM | 95
PREPARE AND APPLY THREE Coats gloss oil paint in accordance with manufacturer's instructions : on wood : to
D | Surfaces 100-200mm girth | LM | 95
FLOOR DIVIDING STRIPS
E | 3 x 25mm Polished stainless steel dividing strip cast in screed between different floor finishes | LM | 1
COMPOSITE RAISED FLOOR
39mm FDEB 38 RAISED FLOOR BY KINGSPAN COMPRISING OF 600 x 600 x 39mm Thick Approved High Density Particle Boards (Moisture resistant quality v3130); including wear resistant/easy to clean ,laminate finish (both surfaces) and 600 x 600 x 4mm thick EVERROLL UNI II (Code TORONTO I) RUBBER FLOORING on an approved 300mm high raised ISO aluminium pedestal floor structure with open bottom access; fixed in accordance to manufacturers instructions an Architect's drawings on:-
F | Server Room floor | SM | 6
CEILING FINISHES
G | Allow for labour and material for supplying new ceiling tile grid system board panels where required, realigning existing ceiling holding channels, repairing and cleaning existing suspended ceiling surfaces. | SM | 72
TOTAL CARRIED TO COLLECTION
3/4/2
ARMSTRONG SUSPENDED CEILING
ARMSTRONG MINABOARD ACCESSIBLE TILE SYSTEM SUSPENDED CEILINGS, 600 x 600 x 15mm thick fissured mineral fibre tiles ; WITH RECESSED GRID comprising of 20mm x 7mm x 25mm gauge epoxy acrylic protected tee clips at 600mm centres located by piped tabs into 38mm x 26mm x 23 gauge epoxy acrylic protected snab tee runners at 600 mm centres in three meter lengths : jointed with 29mm x 20mm x 170mm x 20 gauge hot dipped galvanised splice plates with 20mm expansion edge trim of 20mm x 25 gauge two coat vinyl white painted channel edge trim : fixed with screws to background requiring plugging.to detail
A | Linings to form soffits: horizontal : suspended on 14 gauge pre-straightened galvanised annealed iron wire, to match existing | SM | 34
SUPPLY AND FIX GYPSUM PLASTER BOARD CEILING
12mm Thick PLASTER BOARD CEILING on and including 65 x 20 x 0.5mm thick omega profile channels at 600mm centres one way; 40 x 10 x 0.5mm "C" Channels at 600mm centres other way; 20 x 20 x 0.5mm thick angles fixed to walls or hung from trusses at 1000mm centres: to detailed drawing L(--)01; on
B | Ceiling | SM | 46
C | Vertical bulkhead including framing to Architect's detailed drawings A[45]01 | SM | 15
PAINTING AND DECORATIONS
PREPARE SURFACE AND APPLY one coat primer and two finishing coats of ceiling matt paint in accordance with manufacturer's instructions on: -
D | Plasterboard ceiling | SM | 61
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 3/4/1
Total carried forward from Page 3/4/2
Total carried forward from Page 3/4/3
TOTAL CARRIED TO SUMMARY OF BILL NO.3
3/4/3
BILL NO.3
OFFICE FIT - OUT
ELEMENT NO.5
JOINERY FITTINGS
RATES FOR ALL JOINERY WORKS MUST INCLUDE ALL ACCESSORIES AND FITTINGS; PAINTING AND DECORATIONS; IRONMONGERY; AS PER ARCHITECT'S DETAILED DRAWINGS;THE CONTRACTOR MUST STUDY THE DRAWINGS AND ENSURE THAT HIS PRICE INCLUDES ALL ITEMS REQUIRED ON THE FITTINGS
DISPLAY UNIT
DISPLAY NICHE TOP COMPRISING 25mm APPROVED GRANITE TOP ON 18mm THICK BLOCKBOARD ON 50 x 50 x 4mm angle steel support frame and reinforcement members plugged to wall; 20mm THICK APPROVED GRANITE FASCIA; 900mm above finished floor level; 20mm thick approved veneer MDF shutters ; with 50 x 50mm appropriate mild steel spray painted support structure; in accordance with Architect's detailed drawings A(72)01
A | 2,825mm long x 450mm x 2,450mm high display top; with 2No.horizontal 10mm tempered glass shelves supported on stainless steel cleats; including 10mm Thick tempered frameless casement doors; to architect's detail L[--]01 | NO | 1
B | Ditto ; but 2,000mm long x 450mm x 2,450mm high display top; ditto: ditto | NO | 1
C | Ditto ; but 1,500mm long x 350mm x 2,450mm high display top; ditto: ditto | NO | 1
RECEPTION DESK
20mm Thick finished 'approved 'granite ' reception desk top on 25mm block boards complete with 10mm stainless steel Strip Profiles protruding from board; plastic computer desk grommet cover, Electrical indicator/ signage; 12mm thick Corian/granite top pn 18mm MDF backing; including 650 x 700 x 750m high under counter shelving with 6mm approved veneer; 2 x 80mm high stainless steel skirting ; all accessories, and decorations to Architect's approval as per detailed drawing L[72]01 - 04
D | A composite reception desk; consisting of 2,250 x 300mm wide x 1,050mm high and 2,250 x 800mm wide x 750mm high ; overall to architect's approval of details L[72] 01 - 04 | NO | 1
TOTAL CARRIED TO COLLECTION
3/5/1
IN BUILT-IN STORAGE UNITS
LOW-LEVEL GRANITE TOPPED STORGE UNIT; 20mm Thick approved granite top and fascia sides; on 20mm thick approved veneer MDF shutters ; with 50 x 50mm appropriate mild steel spray painted support structure; in accordance with Architect's detailed drawings A(72)04 and L(22)04 ref: in
A | 4,700 x 600 x 900mm high low level storage unit; to detail drawings L[22]04 | NO | 1
TEA COUNTER TOP.
TEA COUNTER TOP in 20mm thick approved granite top, fascia sides: with 50 x 50mm appropriate mild steel support structure; in accordance with Architect's detailed drawings A(72)02 and L(22)06 ref: in
B | 1,600 x 600 x 900mm high; to detail A(72)02 - 03 | NO | 1
RECEPTION LOW LEVEL CABINET
C | 3,100 x 300mm wide x 791mm high ; 20mm thick approved veneered MDF ; overall to architect's approval of details A(72)06 | NO | 1
STORAGE SHELVES
20mm Thick approved cabinet with shelves; 20mm thick approved veneered MDF shutter including hardwood timber bearer supports to shelves; all ironmongery, painting and decorations ; all to Architect's detailed drawing A[72]03 & L[72]05 - 06
D | High level storage cabinets overall size 1,600 x 500 x 900mm high; to details | NO | 2
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 3/5/1
Total carried forward from Page 3/5/2
TOTAL CARRIED TO SUMMARY OF BILL NO.3
3/5/2

## Sum Bill No.3 - First Floor Lev
Element | Description |  | Page | Amount
(US$)
BILL NO.3
OFFICE FIT - OUT
SUMMARY
A | DEMOLITIONS AND REMOVALS |  | 3/1/2
B | WALLING AND PARTITIONING |  | 3/2/2
C | DOORS |  | 3/3/3
D | INTERNAL FINISHES |  | 3/4/3
E | JOINERY FITTINGS |  | 3/5/2
TOTAL BILL NO.3 CARRIED TO MAIN SUMMARY
3/S
727
727

## Fly Sht. bl No.4 Electrical
BILL NO.4
ELECTRICAL INSTALLATIONS

## Bill No.4 - Electrical Installa
Item | Description | Unit | Qty | Rate | Amount
|  |  |  | (US$) | (US$)
BILL NO.4
ELECTRICAL INSTALLATIONS
ELEMENT NO.1
PRICING NOTES
ALL SPECIFIED MATERIALS - GENERAL NOTES
i) | All works shall comply with: Republic of Uganda Ministry of Works and Transport, Specifications for Works Part 3; and BS 7671, Requirements for Electrical installation (IET Wiring Regulations)
ii) | All works shall comply with Manufacturer's instructions, Approved submittal and shop drawings and Electrical specifications
iii) | Submittals will be provided for all materials to be used in the installation works or approval. These will have the following information Catalogue cut sheets, Manufacturers guarantee of at least 1 year, Operation and Maintenance Data, Shop drawings, Product data and any other information deemed necessary.
iv) | To be supplied, delivered to Site, installed, connected complete and commissioned in full working condition including all the necessary fixing/mounting/terminating accessories as per Specification and Drawings, tested and commissioned to the satisfaction of the Electrical Engineer.
v) | All underground reticulation and distribution cables are to be supplied and installed c/w all necessary fixing / clipping / supporting / glanding and termination accessories as per general specification and type approved by the supervising Electrical Engineer
vi) | The rate for the underground cables shall cover excavation, sand-bedding, backfilling, trenching, enclosing in PVC ducts, manholes, where necessary, and all associated builders' works. Actual measurements shall be based on the site conditions.
vii) | All indoor cables are to recessed within the cable ducts, ceiling voids, wall fabric enclosed in suitably sized PVC conduits neatly installed and to further Instructions from the Electrical Engineer and/or Drawings.
viii) | All LV cables to be stranded cables.
ix) | The entire electrical installation shall be tested for compliance in accordance to the 17th Edition of the IET (BS7671) Wiring Regulations and witnessed and approved by the Engineer
x) | Warning Signage and proper labelling to be provided
xi) | As-Built Drawings, Manuals and Manufacturer Guarantees to be provided. Testing, and Commissioning of the each Systems to be done to the Satisfaction of the Engineer prior to acceptance of works
| TOTAL CARRIED TO SUMMARY OF BILL NO.4 |  |  |  | 0
4/1/1
BILL NO.4
ELECTRICAL INSTALLATIONS
ELEMENT NO.2
POWER SUPPLY AND ACCESSORIES
UPS System
POWER SUPPLY AND ACCESSORIES
UPS System
A | Supply, Install, Test and Commission a 15kVA, 415V/50Hz On-line Double conversion Uninterruptible Power Supply Unit complete with static and manual bypass switch, parallel capacity, and battery module having the following Specifications to APC Smart UPS VT 15kVA or approved equivalent.
i) | Nominal Power Output: 15kVA at PF=0.8
ii) | Norminal AC Supply Input: 400V
iii) | Input Frequency range: 45-55Hz
iv) | Efficiency at full load: 95%
v) | Back up time at full load: 10mins
vi) | Overload capacity: 125% for 10 minutes
vii) | Sealed Lead Acid battery and 10yrs min service time
viii) | IP20 with English language display and controls
ix) | Data recording | ITEM | 1
B | Bypass switch 63A 4pole as Schneider | NO | 1
C | Earth the UPS using 16mm sq PVC Insulated SC copper cable (green yellow earth cable) complete with all glanding and fixing accessories | LM | 30
D | 4pole 63A Rotary isolator to Eaton Moeller (disconnect for the UPS) | NO | 1
LV DISTRIBUTION BOARDS AND CABLES
E | 63A, 415V 6- Way Low Voltage TPN MCB-type lockable distribution board as Schneider or Siemens , complete with but not limited to the following items,63A TPN MCB, SP MCB, Busbar all as per Specifications and Drawings (DB-UPS) | NO | 1
CABLES
F | 16mm sq.-4Core SC XLPE-SWA-PVC Copper cables for Power Supply connection from DB-BAT to DB- UPS | LM | 60
G | 16Sq.mm SC XLPE/SWA/PVC copper cables. (earthing) | LM | 60
TOTAL CARRIED TO SUMMARY OF BILL NO.4
4/2/1
BILL NO.4
ELECTRICAL INSTALLATIONS
ELEMENT NO.3
LIGHTING FITTINGS
A | Fire Exit Fittings as Thorn Voyager Exit Sign | NO | 3
B | Recessed LED panel lights 600x600mm . A light weight recessed luminaire for exposed T grid systems with LED light source 4000K colour temperature, CRI>80 and a lifetime of 50,000 hours @ L70 Ta 25C including high efficiency up to 111lm/W, UGR<19. As Thorn Beta Office | NO | 16
C | Ditto above but emergency | NO | 4
D | Decorative Pendant light for the Boardroom & Reception. c/w will all mounting accessories as approved | NO | 4
E | 15metres 240V LED strip light, waterproof IP54 white in colour as Thorn or Radiant lighting c/w power cable, drivers/controllers and all accessories or approved equivalent | NO | 2
F | 3metres 240V LED strip light, waterproof IP54 white in colour as Thorn or Radiant lighting c/w power cable, drivers/controllers and all accessories or approved equivalent (Reception Table) | NO | 1
G | 15W Single LED recessed downlights as Philips, Thorn or equal approved | NO | 6
H | Ditto above but emergency | NO | 2
I | 12W twin Led Square Panel Downlights as Philips | NO | 4
J | Recessed LED spot lights c/w 6W LED lamp and all accessories as Radiant Lighting. | NO | 25
WIRING ACCESSORIES
K | Supply and install 10A/250V SP 1-Gang 1-Way white flush moulded plate switch c/w flush mounting box, and accessories to Legrand Synergy Modern manufacture Cat. 7310 00. | NO | 5
L | Ditto above but motion sensor switch as 10365 360 Spot type motion sensor | NO | 2
M | Ditto as above but 2-Gang 1-Way to Cat. No.7310 02 | NO | 2
N | Ditto as above but2-Gang 2-Way to Cat. No.7310 02 | NO | 1
O | Supply and install 6A 1gang 1way ARCHITRAVE switch to Legrand | NO | 1
P | Supply and install 6A 2gang 1way ARCHITRAVE switch to Legrand | NO | 1
Q | 13A SP 2-Gang moulded plate switched socket outlets c/w flush mounting box , as to CRABTREE List No. 4306/3, or approved equivalent. [in trunking/wall] | NO | 20
R | Ditto above but Non Standard sockets for UPS supply. | NO | 6
S | Ditto above but 1gang | NO | 5
TOTAL CARRIED TO COLLECTION
4/3/1
A | 13A SP 2-Gang silver moulded plate switched socket outlets c/w USB port, flush mounting box , as to CRABTREE List No. 4306/3, or approved equivalent. | NO | 25
B | 20A DP white moulded plate switch complete with flush mounting box, and fitted with a neon indicator lamp, as to CRABTREE List No. 4015/3, or equivalent. | NO | 10
C | Floor Outlet box with 3 compartment c/w: 2no. double switched socket outlet, 2 x RJ 45 data outlets, steel reinforced lid recessed to accommodate cable outlet flaps as crabtree | NO | 1
D | TV outlet top plate c/w flush mounting box and all accessories as Crabtreee or approved equal | NO | 3
E | HDMI outlet plates | NO | 3
F | Twin RJ45 outlets for UTP Cat 6 for Voice and Data as Siemon or equal approved mounted on trunking or recessed in a wall complete with all accessories. | NO | 20
G | Single RJ45 outlets for UTP Cat 6 for Voice and Data as Siemon or equal approved mounted on trunking or recessed in a wall complete with all accessories. | NO | 10
H | 3 pin 32 A Industrial socket c/w mounting accessories as Cabtree | NO | 2
I | All a fee to carefully remove and handover all the lights to the Landlord | ITEM | 1
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 4/3/1
Total carried forward from Page 4/3/2
TOTAL CARRIED TO SUMMARY OF BILL NO.4
4/3/2
BILL NO.4
ELECTRICAL INSTALLATIONS
ELEMENT NO.4
WIRING AND CABLE MANAGEMENT
Lighting points
A | All wiring of lighting points in the office area are to be connected complete and ready from 10A SP miniature circuit breakers, using 3x2.5mm sq. PVC-Insulated single core copper cables drawn in uPVC flush installed conduits/trunking/ flexible conduits, through switches, and as per drawings. | NO | 67
Power points
B | All wiring of all power points are to be connected complete and ready from 32A SP miniature circuit breakers, using 3x2.5mm sq. PVC-Insulated single core copper cables in ring circuit, drawn in trunking/conduits/ flexible conduit, as per drawings. | NO | 56
AC points and Fire panel
C | All wiring of AC (or fire panel) points are to be connected complete and ready from 20A SP miniature circuit breakers, using 3x2.5mm sq. PVC-Insulated single core copper cables, drawn in conduits/ flexible conduits, and through 20A DP control switches, as per drawings. | NO | 10
Data outlet points
D | Wiring to data points from the patch panel (network switch) to each data outlet (socket) through the trunking/conduits/ flexible conduits using CAT6E UTP 23AWG Solid PVC data cable siemens cable as shown in the drawing. | NO | 60
Industrial Sockets
E | All wiring of industrial socket points are to be connected complete and ready from 32A SP miniature circuit breakers, using 3x4mm sq. PVC Flexible copper cables, drawn in conduits/ flexible conduits, and through 32A DP control switches, as per drawings. | NO | 3
CABLE MANAGEMENT
Cable tray
F | Galvanised perforated cable tray system, V-Type, 300mmx50mm (WxH), complete with all attachments and accessories (Depth wise 4-way cross junction, Depth wise T junction, 90degree Bends, Reducers etc. [Note: Provisional route length stated, actual measurements to be done on site] | LM | 30
G | Galvanised perforated cable tray system, V-Type, 150mmx50mm (WxH), complete with all attachments and accessories (Depth wise 4-way cross junction, Depth wise T junction, 90degree Bends, Reducers etc. [Note: Provisional route length stated, actual measurements to be done on site] | LM | 30
TOTAL CARRIED TO COLLECTION
4/4/1
A | Galvanised Cable baskets system, 300mmx50mm (WxH), complete with all attachments and accessories (Depth wise 4-way cross junction, Depth wise T junction, 90degree Bends, Reducers etc. [Note: Provisional route length stated, actual measurements to be done on site] | LM | 30
CCTV Conduiting
B | Conduiting to the CCTV points using 25mm diameter PVC conduit from the camera point to the Patch panel (NVR) in the server room as per the Drawings c/w with MK boxes. | NO | 7
Access control point (Conduiting only)
C | Conduiting for access control to link the biometric reader, emergency button, exit button and magnetic lock using 25mm PVC conduit (flexible conduits) as per drawings | NO | 3
Intrusion Alarm (Conduiting only)
D | Conduiting for intrusion alarm to linking the PIR motion sensor, door contacts, alarm sounder to the intrusion alarm panel using 25mm PVC conduit/ flexible conduits as per drawings | NO | 8
3-COMPARTMENT TRUNKING:
E | 3-Compartment prestige skirting and DADO trunking (for data, telephone and power socket outlets), c/w all necessary accessories as to MARSHALL-TUFFLEX manufacture, or approved equivalent. (TO MATCH EXISTING TRUNKING) | LM | 20
TV Points
F | Loop conduiting of TV points and connections to the ICT duct are to be done using 32mm PVC conduits/ flexible conduits a per drawings and all accessories | NO | 3
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 4/4/1
Total carried forward from Page 4/4/2
TOTAL CARRIED TO SUMMARY OF BILL NO.4
4/4/2
BILL NO.4
ELECTRICAL INSTALLATIONS
ELEMENT NO.5
FIRE DETECTION AND CCTV
FIRE DETECTION & ALARM SYSTEM
Supply and install the following elements compatible with the existing fire detection system
A | Smoke detector c/w base | NO | 9
B | Heat detector c/w base | NO | 1
C | Manual Break glass call point | NO | 2
D | Alarm sounder (CEILING MOUNTED) | NO | 2
E | Allow a fee to reprogram the existing fire panel to accommodate the additions above | SUM | 1
F | Loop wiring and conduiting of Detection Elements using 1.5mm sq 2-core Firetec OHLS 300/500V stranded copper cables to AEI CABLES LTD ref F2C1.5E or approved equivalent, in flush conduits (cable included). | NO | 14
CCTV SURVEILLANCE SYSTEMS
G | Supply and install the following elements (c/w fixing and mounting accessories) of the AXIS or approved equivalent. The rate shall include "As-Built" Drawings, Manuals, Testing and Commissioning the System to the Satisfaction of the Engineer.
i) | IP Dome HD 4MP camera with ICR,Smart IR, DNR, and all accessories ,IP 65 | NO | 6
ii) | IP Bullet HD 4MP camera with ICR,Smart IR, DNR, and all accessories, IP 65 | NO | 1
iii) | PC Workstation complete with desk top, 28 inch monitor and allow other necessary accessories | NO | 1
iv) | 12port POE Switch | NO | 1
v) | Install 16 channels NVR | NO | 1
vi) | CAT 6 network cable as Siemens, Giganet or equal approved to be drawn in the conduiting specified above | LM | 200
vii) | 1m Patch cods CAT6E UTP 24AWG solid PVC | NO | 7
viii) | 24 port POE CAT 6 patch panel | NO | 1
ix) | Allow for all extra associated accessories , cable managers, wiring, associated software, power supplies, dc connectors, bnc connectors, sundry items for the successful installation, of the CCTV Surveillance Systems | ITEM | 1
TOTAL CARRIED TO SUMMARY OF BILL NO.5
4/5/1
BILL NO.4
ELECTRICAL INSTALLATIONS
ELEMENT NO.6
ACCESS CONTROL AND INTRUSION ALARM
ACCESS CONTROL
Supply and install the following elements (c/w fixing accessories) as "AXIS". The rate shall include "As-Built" Drawings, Manuals, Testing and Commissioning the System to the Satisfaction of the Engineer.
A | Axis Intelligent 1 Door Controller with real time alarm and access control on 1 Door, accepts multiple reader formats, with anti-pass back feature with Network Port . | NO | 3
B | Power supply with Battery backup | NO | 3
C | Biometric reader with Finger print Access Control terminal | NO | 3
D | Magnetic lock Single or Double with LZ Brackets | NO | 3
E | Push Exit button | NO | 3
F | Exit push button at reception | NO | 1
G | Log-in time system (time attendance reader) | NO | 1
H | 12-port network switch | NO | 1
I | Network cable (CAT6) | LM | 300
J | 8 Core cable | LM | 250
K | Resettable emergency break glass | NO | 3
L | Allow for all extra associated accessories, wiring, software for the successful installation, of the Access control Systems | ITEM | 1
INTRUDER ALARM SYSTEM
Supply and install the following elements (c/w fixing accessories). The rate shall include "As-Built" Drawings, Manuals, Testing and Commissioning the System to the Satisfaction of the Engineer.
M | Control panel including Main board and LCD keypad as Lightsys | ITEM | 1
N | 12V 7AH battery for the panel | NO | 1
O | Motion sensors. Comet PIR Sensor | NO | 6
P | Siren (CEILING MOUNTED) | NO | 2
Q | Strobe (CEILING Mounted) | NO | 2
R | Magnetic contact for emergency exit | NO | 1
S | Glass break sensors as Vitron plus | NO | 3
T | Panic buttons | NO | 3
U | Cable 6 core | LM. | 200
V | Allow for all extra associated accessories, wiring, software for the successful installation, of the Intrusion alarm system and commissioning | ITEM | 1
TOTAL CARRIED TO SUMMARY OF BILL NO.4
4/6/1
BILL NO.4
ELECTRICAL INSTALLATIONS
ELEMENT NO.7
VOICE, DATA AND AUDIO VISUAL INSTALLATIONS
VOICE AND DATA SYSTEM
Supply and install the following elements (c/w fixing and mounting accessories). The rate shall include "As-Built" Drawings, Manuals, Testing and Commissioning the System to the Satisfaction of the Engineer.
DATA System
A | UTP CAT6 24 port patch panel Modular | NO | 3
B | 1HU Patch Guide | NO | 3
C | UTP CAT6 1m Patch cords Unscreened Siemon | NO | 52
D | UTP CAT6 3m Patch cords Unscreened | NO | 30
E | CISCO WS-C3850-48PS-S switch POE | NO | 1
F | Ceiling mountable dual band POE powered wireless access points as CISCO Aironet Access Point (AIR-CAP1702i-H-K9) | NO | 2
VOICE System
G | Cisco IP PHONE 7937 Cisco IP Phone 7937 IP Conference Station For Boardroom | NO | 1
H | Cisco IP PHONE 7915 With One Expansion Module (Reception) | NO | 1
I | Supply and install CISCO IP Phones CP-7821 | NO | 10
J | Supply and install CISCO IP Phones CP-7942 | NO | 1
K | Telephone Connection Cords complete with Plug. | NO | 14
L | Cisco ISR 4531 Integrated Service Routers with NIM-2GE-CU-SFP | NO | 1
M | 3600 Next Generation Threat Prevention & Sandblast (NGTX) Appliance Solution | NO | 1
N | Network Attached Storage BOX 3 TB | NO | 1
O | Allow a fee for fibre optic connections to an IPS to include fiber up links, modules and all other accessories. | SUM | 1
P | Supply and installation of 32U Rack cabinet with ultra quiet fan and 12 way PDU c/w all other accessories as Siemens or equal | NO | 1
TOTAL CARRIED TO COLLECTION
4/7/1
AUDIOVISUAL
The rate includes supply, installation testing and commissioning c/w all accessories including TV supports
A | 75-inch Mondo pad Ultra-Premium, high performance collaboration Part number: INF75MU0 | NO | 1
B | LED Smart LG 49 inch ultra HD 4KTV | NO | 1
Kramer
C | USB Active Extender Cable. CA-UAM/UAF-25 | NO | 3
D | 5 m High Speed HDMI cable. C-HM/HM-25 (From the floor box to Tv screen) through trunking/conduit/cable tray | NO | 1
E | 15 m High Speed HDMI cable. C-HM/HM-25 (From the NVR to Directors screen) through trunking/conduit/cable tray | NO | 1
IPAD PRO
F | Supply approved i-pad pro 11 air tablets with the following specifications 247.6 x 178.5 x 6.1 mm (9.75 x 7.03 x 0.24 in) ; 458 g (Wi-Fi) / 460 g (3G/LTE) (1.01 lb) with Glass front, aluminium back, aluminium frame Nano-SIM; eSIM ; Stylus support1640 x 2360 pixels (~264 ppi density); Hexa-core (2x3.0 GHz Firestorm + 4x1.8 GHz Ice storm); 64GB 4GB RAM, 256GB 4GB RAM all other associated accessories to project manager's/client approval | NO | 4
| DSTV | NO
G | Allow a fee for a DSTV Xtra View with the following accessories but not limited to the following; PVR HD decoder in the Regional director's office, HD Decoder at the Reception which will give a signal to the TVS in the open area as well, DSTV satellite dishes, LNB stand, free to air antenna, all wiring required (coaxial) and installation changes for at least 3months, and all accessories. | Sum | 1
ENVIRONMENT MONITORING SYSTEM
H | Advanced Temperature and environment monitoring system (Room Alert) c/w but not limited to the follows; humidity sensor, power sensor, temperature sensor, smoke sensor, flood sensor, 24/7 online and remote monitoring, all support software and all accessories to Avtec or equal | NO | 1
TOTAL CARRIED TO COLLECTION
COLLECTION
Total carried forward from Page 4/7/1
Total carried forward from Page 4/7/2
TOTAL CARRIED TO SUMMARY OF BILL NO.4
4/7/2

## Sum Bill No.4 - Electrical
Element | Description |  | Page | Amount
(US$)
BILL NO.4
ELECTRICAL INSTALLATIONS
SUMMARY
A | ALL SPECIFIED MATERIALS - GENERAL NOTES |  | 4/1/1
B | POWER SUPPLY AND ACCESSORIES |  | 4/2/1
C | LIGHTING FITTINGS |  | 4/3/2
D | WIRING AND CABLE MANAGEMENT |  | 4/4/2
E | FIRE DETECTION AND CCTV |  | 4/5/1
F | ACCESS CONTROL AND INTRUSION ALARM |  | 4/6/1
G | VOICE, DATA AND AUDIO VISUAL INSTALLATIONS |  | 4/7/2
TOTAL BILL NO.4 CARRIED TO MAIN SUMMARY
4/S
727
727

## Fly Sht. bl No.5 - Mechanical I
BILL NO. 5
MECHANICAL INSTALLATIONS

## Bill No.5 - Mechanical Installa
Item | Description | Unit | Qty | Rate | Amount
|  |  |  | (US$) | (US$)
BILL NO.5
MECHANICAL INSTALLATIONS
ELEMENT NO.1
AIR CONDITIONING INSTALLATION
A | Ceiling mounted cassette type split unit as LG 5.4kW(18,000 btu) or equal approved equivalent in Samsung or Daikin or Carrier complete with 30m copper piping (Gas and liquid), AVS, wiring with 2.5mm Sq cable, remote control and mounting brackets for indoor and out door unit | NO | 3
B | 20mm pre-insulated ducted work with all required fixing and fitting accessories
i) | 250mm x 200 ducting | LM | 15
ii) | 400mm x 200mm ducting | LM | 40
iii) | 600mm x 200mm ducting | LM | 30
C | Using 150mm flexible duct extend return air to the required positions complete with the plenum box for supply air grilles | LM | 85
D | Ducted unit as LG/Carrier/Samsung, Daikin: 7.2kW(24,000btu) of cooling capacity, with inbuilt drain pump sound level 70dbA, power input: 0.074kW, single phase, with r410A Refrigerant, 30m copper piping complete with Air Filter, all hanging accessories, remote control, wiring from 20ADP switch to unit. | NO | 2
E | Supply and return Linear grilles
i) | 150 x 1,500mm | NO | 4
ii) | 150 x 1,200mm | NO | 4
F | Wall mounted type split unit as LG/Carrier/Daikin 3.6 kW (12,000 btu) complete with 30m copper piping (Gas and liquid), AVS, wiring with 2.5mm Sq cable, remote control and mounting brackets for indoor and out door unit. Unit to be fitted with a drain pump for the condensate drainage ( Server room) | NO | 2
G | Automatic switching unit for server room. One unit on duty another is standby (Server room). | NO | 2
H | 40mm insulated pvc pipe for AC drainage | LM | 100
I | Dehumidifier as Danfoss equal or approved ,capacity of 20 litres per day | NO | 1
FIRE FIGHTING
J | 5kg carbon dioxide gas fire extinguishers complete with pressure gauge, initial charge and mounting bracket | NO | 2
K | ABC type, 9kg fire extinguishers complete with pressure gauge, initial charge and mounting bracket | NO | 2
L | FM 200 fire fighting system comprising a 25kg FM 200 gas cylinder, control panel as maxlogic ml322 conventional series fire extinguishing panel complete with 4 smoke detectors, sounder, monitors, class B black steel piping, gas nozzle and all fixing and operating accessories | ITEM | 1
M | Standalone automatic extinguisher system with ABC gas, 10Kg, as ND6-Matic for the server room | NO | 1
TOTAL CARRIED TO SUMMARY
5/1/1

## Sum Bill No.5- Mechanical Inst
Element | Description |  | Page | Amount
(US$)
BILL NO.5
MECHANICAL INSTALLATIONS
SUMMARY
A | AIR CONDITIONING INSTALLATION |  | 5/1/1
TOTAL BILL NO.5 CARRIED TO MAIN SUMMARY
5/S
727
727

## Fly Sht. MAIN SUMMARY
MAIN SUMMARY

## Main Summary
| MAIN SUMMARY |  | M/S
PROPOSED FITOUT OF KENYA REINSURANCE OFFICE, ON FIRST FLOOR LEVEL REDSTONE HOUSE, PLOT 07, BANDALI RISE, KAMPALA, UGANDA.
BILL NO | DESCRIPTION | PAGE NO. | AMOUNT (US$)
1 | GENERAL CONDITIONS | 8
2 | PRELIMINARIES | 21
3 | OFFICE FIT - OUT | 35
4 | ELECTRICAL INSTALLATIONS | 47
5 | MECHANICAL INSTALLATIONS | 50
SUB-TOTAL
| ADD: CONTINGENCIES | 5%
SUB-TOTAL
| ADD: VAT | 18%
| GRAND TOTAL | (US$)
……………………………………………… |  | …………………………..………….…
Signature of Employer |  | Signature of the Contractor
Witness: _________________________________________ |  | Witness: ______________________
_________________________________________ |  | ______________________
_________________________________________ |  | ______________________
Date: ………………..……………….. |  | Date: ………………………………...……….
727
727
Insecticide treatment to exposed surfaces and bottom of excavation.